LED Driver 0-10VDIM

LED Controller

6P4C	6P4C

一：Individual control test：

- controller connected to the power supply.;

- take out the network cable, large head (6P4C) connected to the controller, large head (6P4C) connected to the power DIMMING (both ports can be connected);

- Touch the LED item of the controller face screen, slide to the right to unlock, enter 0-100 in the keyboard, press OK, you can control the output status.。

- Control steps: on-off - 50% - 100%

- Test completed, power knob adjusted to 100%, unplug the network cable, put away the controller.。

LED Driver 0-10VDIM

LED Driver 0-10VDIM

二：Multi-way parallel vehicle control:

LED Driver 0-10VDIM

LED Controller

RJ11network cable 6p4c     RJ11network cable 6p4c